## DISCHARGE-TEST
|  | DISCHARGE TEST EXISTING AND REDUCED DISCHARGES | [7 empty] | 1.2 | [6 empty] | BOTTOM ROUGHNESS FOR SPECIFIC WATERS
b
INPUT DATA SURFACE WATER | [6 empty] | INPUT DATA DISCHARGE | [5 empty] | LIST OF SUBSTANCES |  |  |  | Do you want to use specific values for bottom roughness (Y/N)? | n | Manning constants |  |  | Chezy constants |  |  | dimensions
[17 empty] | TYPE OF CHANNELS AND DESCRIPTION |  | Minimum | Normal | Maximum | Minimum | Normal | Maximum | B | d
[7 empty] | flow | Q discharge | 3600 | 15.3 | m3/hr | [5 empty] | Natural streams - minor streams (top width at floodstage < 100 ft)
flow | Q opp. | 45 | m3/s |  |  |  | diameter pipe | D |  | 0.5 | m | [5 empty] | 1. MAIN CHANNELS
depth | h | 2 | m |  |  |  | substance |  |  | Svins | [6 empty] | a. clean, straight, full stage, no rifts or deep pools |  | 0.025 | 0.03 | 0.033 | 0.039416 | 0.12298 | 0.20628 | 25 | 4
width | b | 45 | m |  |  |  | effluent concentration | Ce |  | 1 | µg/l | [5 empty] | b. same as above, but more stones and weeds |  | 0.03 | 0.035 | 0.04 | 0.11235 | 0.24842 | 0.45046 | 25 | 3
[17 empty] | c. clean, winding, some pools and shoals |  | 0.033 | 0.04 | 0.045 | 0.1569 | 0.36867 | 0.57674 | 25 | 2
[7 empty] | MAC |  | = | 14 | µg/l |  | M11 (Ce/delta C11) | 221.5543 |  | 0.00040032 | d. same as above, but some weeds and stones |  | 0.035 | 0.045 | 0.05 | 0.27721 | 0.81931 | 1.1972 | 25 | 4
upstreamconc. | C w | 0.5 | µg/l |  |  |  | EQS |  | = | 1.2 | µg/l |  | delta C 11 | 0.0044933 | µg/l | 0.00048 | e. same as above, lower stages, more ineffective |  | 0.04 | 0.048 | 0.055
L | = | 450 | m |  |  |  | NR |  | = | 0 | µg/l |  | C 11 | 0.50225 | µg/l | #N/A | slopes and sections |  |  |  |  | 0.50997 | 1.0385 | 1.6328 | 25 | 4
[7 empty] | X |  | = | 0.04 | % |  | ML (= Ce/delta CL) = | 2498.0133 |  | 0.5004 | f. same as "d" with more stones |  | 0.045 | 0.05 | 0.06 | 0.57674 | 0.82501 | 1.4115 | 25 | 2
[10 empty] | M25 = | 221.5543 |  | delta CL = | 0.00040016 | µg/l | 0.5002 | g. sluggish reaches, weedy, deep pools |  | 0.05 | 0.07 | 0.08 | 1.6741 | 4.7969 | 6.6654 | 25 | 10
Delta C after complete mixing: 0 % of EQS
[10 empty] | 10 | [6 empty] | h. very weedy reaches, deep pools, or floodways |  | 0.075 | 0.1 | 0.15
| DISCHARGE-TEST EXISTING DISCHARGE |  |  |  |  | Svins |  |  |  |  | 2498.0133 |  | CL = | 0.5002 | µg/l | 0.080032 | with heavy stand of timber and underbrush |  |  |  |  | 5.7168 | 10.5643 | 19.5223 | 25 | 10
| step 1 | Ce >= EQS ? | ® | NO |  |  | ® | STOP | [8 empty] | 2. MOUNTAIN STREAMS, NO VEGETATION IN CHANNEL, BANKS USUALLY
|  |  | C 11 >MAC? | ® | NO |  |  | MAC criteria can be met! | [8 empty] | STEEP, TREES AND BRUSH ALONG BANKS SUBMERGED AT HIGH STAGES |  | 0.03 | 0.04 | 0.05 | 0.13098 | 0.4742 | 1.0261 | 10 | 3
[13 empty] | Length MAC-mz: 0 m < L-mac: 11 m |  |  |  | a. bottom: gravels, cobbles, and few boulders |  | 0.04 | 0.05 | 0.07 | 0.41073 | 0.86628 | 2.0327 | 10 | 2
b. bottom: cobbles with large boulders
[6 empty] | CL<EQS |  | criteria of EQS mixing zone can be met |  |  |  |  | (rough) estimate of available space |  |  | 0.0078696
downstream on water body or river
[13 empty] | basin level based on complete mixing: |  |  |  | What type of water are we dealing with (type 1 or 2)? | 2
[13 empty] | 0 comparable discharges |  |  |  | In what category does the water fall? (type a,b,c,d,e,f,g or h) | a
[19 empty] | give the width of the water body [m]: |  |  |  |  | 45
[19 empty] | give the depth of the water body [m]: |  |  |  |  | 2
[17 empty] | Manning roughness constant | 0.04 | 0.32085 |  |  | 45 | 2
discharge is acceptable
[8 empty] | length of mixing zone: 0 m |  |  |  | < |  |  |  |  | 2498.0133
conclusion: determine the limiting factor!: AA-EQS- mixing zone or the MAC-mixing zone and (if necessary) run the discharge test with adequate flow conditions
DIMENSIONS OF THE WATER BODY
| length [km]: |  | 200
| average width [m]: |  | 45
options for tidal waters
¯
¯
|  | CAN THE WATER BODY IN QUESTION BE IDENTIFIED AS A TIDAL WATER (Y/N)?: | [7 empty] | n
2499
2494
123
2499
2494
111
[10 empty] | 19.6937 | 0.40299
Note on D8: Administrator: Caurplūdumu izvēlas atkarībā no aprēķināmā parametra. Tiek aprēķināta gan MPK sajaukšanās zona, gan GVL sajaukšanās zona. GVL sajaukšanās zonas aprēķinam parasti izmanto gada vidējo caurplūdumu vai Q90, vai Q95 (sliktākais scenārijs). MPK sajaukšanās zonas aprēķinam izmanto mionimālo caurplūdumu. Q90 - caurplūdums ar 90% varbūtību (var aprēķināt gan ūdensobjektiem ar hidroloģisko staciju, gan bez hidroloģiskās stacijas)
Note on I55: Administrator: related to theQ-90 or Q95 net flow of the water body
Note on I56: Administrator: related to theQ-90 or Q95 net flow of the water body
Note on J49: Administrator: For the AA-EQS-MZ the average/median tidal flow can be used. In case of a worst case approach the Q90 or Q95 flow can be used as input.The used tidal and net flows have to be related.
Note on J55: Administrator: In principle MAC has to be met outside the MAC mixing zone always! For tidal waters Qmin(=0) seems not to be reasonable, because low tidal flows last for very short moments. Also in this case a Q90 or Q95 tidal flow,corresponding with the Q90 or Q95 net flow, could be a an option.
Note on L8: Administrator: Cauruļvada diamters ietekmē plūsmas ātrumu un līdz ar to arī sajaukšanos izplūdes vietā
Note on L18: Administrator: Šinī šūnā var norādīt pieļaujaumo GVL koncentrācijas pieaugumu % attālumā L. To izmanto izplūdēm, kam ierobežo sajaukšanaās zonas garumu un neizmanto 10 upju platuma vai 1 km ierobežojumu
Note on W4: Comment: Izvēloties "Y", ir iespējams definēt konkētajam ūdensopjektam un izplūdes vietai raksturīgos ūdensobjekta gultnes raksturparametrus
Note on W26: Comment: Jāizvēlas upes veids (mierīgi plūstošas upes (1) vai straujteces (2))
Note on W27: Comment: Izvēlieties vienu no iespējām (a. - h.) no 1.tabulas

## CALCULATION OF MIXING
| RECEIVING WATER BODY: |  |  |  | river |  | DISCHARGE
| flow Q |  | 45 | m3/s |  | flow of discharge Q-dis |  | 15.3 | m3/hr = | 0.00425 | m3/s
| width b |  | 45 | m |  | diameter pipe D |  | 0.5 | m
| depth h |  | 2 | m |  | area pipe A |  | 0.19635 | m2
| streaming velocity v |  | 0.5 | m/s |  | a = |  | 2 | discharge in the middle a = 1, discharge at the riverbank a = 2
| k-value |  | 0.05 | m |  | b = |  | 1 | discharge at riverbed or the surface b = 1, discharge at medium depth b = 2
| Chezy C |  | 47.5966 | m(1/2)/s |  | c = |  | 2 | c = ratio velocities at transition from jet to plume ( v-jet-max / v )
| alpha-coëfficiënt |  | 0.6 | - |  | discharge velocity v-dis |  | 0.021645 | m/s |  |  | 0.021645 | m/s
| disp-y (b) |  | 0.039863 | m2/s |  | hydraulic radius l(Q): |  | 0.44311 | m |  | 19.6937 | = 4*pi*WORTEL(Dy*Dz)/ (a*Qloz/3600)
| disp-y (s) |  | 0.001 | m2/s |  | maximum mixing factor Qw-body/Qdis: |  | 10588.2353 |  |  | 0.40299 | = 1/(5.6*l(Q))
| disp-y (u) |  | 0.039863 | m2/s |  | jet or plume at the point of discharge: |  | PLUME
| L-mixing y |  | 8084.8169 | m
| beta-coëfficiënt |  | 0.067 | -
| disp-z (b) |  | 0.0044514 | m2/s |  | x3Dplume-max (m) = | 35.7538
| disp-z (s) |  | 0.001 | m2/s | [23 empty] | Input data for the graphs:
| disp-z (u) |  | 0.0044514 | m2/s
| L-EQS |  | 450 | m | [24 empty] | ug/l | ug/l | ug/l
[6 empty] | x (m) | Ce/Cx | [20 empty] | x(m) | Cx | EQS | Cupstream | MAC
[6 empty] | 0 | 1 | [20 empty] | 0 | 0.75 | 1.2 | 0.5 | 14
[6 empty] | 8.9384 | 176.0311 | 3D plume-area | [19 empty] | 8.9384 | 0.50282 | 1.2 | 0.5 | 14
[6 empty] | 17.8769 | 352.0621 | [20 empty] | 17.8769 | 0.50142 | 1.2 | 0.5 | 14
[6 empty] | 26.8153 | 528.0932 | [20 empty] | 26.8153 | 0.50095 | 1.2 | 0.5 | 14
[6 empty] | 35.7538 | 704.1242 | [20 empty] | 35.7538 | 0.50071 | 1.2 | 0.5 | 14
[6 empty] | 60.7538 | 917.857 | [20 empty] | 60.7538 | 0.50054 | 1.2 | 0.5 | 14
[6 empty] | 69.0871 | 978.7841 | [20 empty] | 85.7538 | 0.50051 | 1.2 | 0.5 | 14
[6 empty] | 85.7538 | 1090.4733 | 2D plume-area | [19 empty] | 110.7538 | 0.50046 | 1.2 | 0.5 | 14
[6 empty] | 135.7538 | 1372.0325 | [12 empty] | ML-MAC | ML-EQS | EQS | MAC |  |  |  |  | 135.7538 | 0.50036 | 1.2 | 0.5 | 14
[6 empty] | 235.7538 | 1808.0806 | [12 empty] | -0.96296 | 0.71429 | n=0 | n=0 |  |  |  |  | 235.7538 | 0.50028 | 1.2 | 0.5 | 14
[6 empty] | 335.7538 | 2157.7391 | [14 empty] | 0.0010144 | -0.0013676 |  |  |  |  | 335.7538 | 0.50023 | 1.2 | 0.5 | 14
[6 empty] | 435.7538 | 2458.1538 | [12 empty] | 0.075438 | 1.4313 | n=1 | n=1 |  |  |  |  | 435.7538 | 0.5002 | 1.2 | 0.5 | 14
[6 empty] | 535.7538 | 2725.6564 | [14 empty] | 0.0020327 | 0.00010714 |  |  |  |  | 535.7538 | 0.50018 | 1.2 | 0.5 | 14
[6 empty] | 635.7538 | 2969.1556 | [12 empty] | 0.073967 | 1.4284 | n=2 | n=2 |  |  |  |  | 635.7538 | 0.50017 | 1.2 | 0.5 | 14
[6 empty] | 735.7538 | 3194.1458 | [14 empty] | 0.00010505 | 0.00010505 |  |  |  |  | 735.7538 | 0.50016 | 1.2 | 0.5 | 14
[6 empty] | 835.7538 | 3404.2987 | [13 empty] | test | [6 empty] | 835.7538 | 0.50015 | 1.2 | 0.5 | 14
[6 empty] | 935.7538 | 3602.2121 | [13 empty] | n | [6 empty] | 935.7538 | 0.50014 | 1.2 | 0.5 | 14
[6 empty] | 1035.7538 | 3789.804 | [20 empty] | 1035.7538 | 0.50013 | 1.2 | 0.5 | 14
[6 empty] | 1235.7538 | 4139.5626 | [12 empty] | hulpcellen: | X | [6 empty] | 1235.7538 | 0.50012 | 1.2 | 0.5 | 14
| calculated dimensions mixing zone |  |  |  | L-EQS | 0.034714 | [13 empty] | 0.68366 | 0.082868
[5 empty] | L-MAC | 0 | [13 empty] | 0.68366 | 1.6965
[13 empty] | delta C | [6 empty] | x-MAC | x-EQS
[5 empty] | Xmac | 0 | 1
[6 empty] | 0 | 1
[5 empty] | L-eqs | 0.034714 | 0.68366
[6 empty] | 0.034714 | 21.9404
| dimensions according to NL discharge-test |  |  |  | L-EQS | 450 | 2498.0133 | [5 empty] | 0 | [6 empty] | 0 | -0.065286
[5 empty] | L-MAC | 11.25 | 221.5543
[6 empty] | 11.25 | 221.5543
[6 empty] | 11.25 | 394.9706
[6 empty] | 450 | 8862.1725
[6 empty] | 450 | 2498.0133
1-e ben. ML-mac
| flexible chosen dimensions of mixing zone |  |  |  | L-EQS | 20000 | 10588.2353 | [12 empty] | 0.075438 |  |  | -0.96296
[5 empty] | L-MAC | 1 | [13 empty] | 1-e ben. ML-EQS
[6 empty] | 1 | 19.6937
[6 empty] | 1 | 117.7575
[6 empty] | 20000 | 393874.3346
[6 empty] | 20000 | 10588.2353
[20 empty] | 1.4313 |  |  | 0.71429
[6 empty] | 0.034714 | 21.9404 |  | 0.034714
[6 empty] | 0.034714 | 0.68366 |  | 0.034714
RESULTS: concentrations and dimensions of the mixing zones and impact at water body level | [16 empty] | increase of concentration | flows used as input for the fresh water assessment |  |  | values | complete |  | remarks | dominant
[17 empty] | in % of EQS after complete mixing |  |  |  |  | mixing |  |  | mixing pattern
[8 empty] | concentration | length mixing zone |  |  |  | B-max[m] | L[m] | area [m2] | % on water body level | and having met mixing zone critera | [7 empty] | in plume | dC | CL-Cw
| CALCULATED DIMENSIONS OF THE MIXING ZONE |  |  |  |  | concentration at | L-MAC |  |  | (0 m) |  |  |  | 0 |  |  | 0.0039348 | ® | flow of 45 m3/s has been used as input for calculating plume mixing | 1 |  | 10588.2353 |  |  | PLUME
[6 empty] | concentration at | L-EQS |  |  | (0 m) |  |  |  | 0.034714 |  |  | 0.0039348 | ® | flow of 45 m3/s has been used as input for calculating plume mixing | 1 |  |  |  |  | PLUME
| DIMENSIONS OF MIXING ZONE ACCORDING NL-DISCHARGE-TEST |  |  |  |  | concentration at | L-MAC | 0.50225 |  | (11 m) |  |  | 0.94161 | 11.25 | 8.3198 | 9.2442e-05 | 0.03981 | ® | flow of 45 m3/s has been used as input for calculating plume mixing | 1 | 0.50225 |  |  |  | PLUME | 0.0044933 | 0.0022466
[6 empty] | concentration at | L-EQS | 0.5002 |  | (450 m) |  |  | 10.6166 | 450 | 3752.2008 | 0.041691 | 0.0016402 | ® | flow of 45 m3/s has been used as input for calculating plume mixing | 1 | 0.5002 |  |  |  | PLUME | 0.00040016 | 0.00020008
| FLEXIBLE APPROACH: |  |  |  |  | concentration at | L-MAC |  |  | (1 m) |  |  |  | 1 |  |  |  | ® | flow of 45 m3/s has been used as input for calculating plume mixing | 1 |  |  |  |  | PLUME
| CHOSEN LENGTH FOR MIXING ZONE |  |  |  |  | concentration at | L-EQS | 0.50005 |  | (20000 m) |  |  | 45 | 20000 | 8921924.2553 | 99.1325 | 0.0016397 | ® | flow of 45 m3/s has been used as input for calculating plume mixing | 1 | 0.50005 |  | 1 |  | PLUME
| CONCLUSIONS: | discharge can meet criteria of MAC and AA-EQS-mixing zone according NL discharge-test | [6 empty] | criteria: | predefined dimensions for MAC-mixing zone: L-max= 11 m and AA-EQS-mixing zone: L-max: 450 m | [10 empty] | predefined dimensions for MAC-mixing zone: L-max= 11 m and AA-EQS-mixing zone: L-max: 450 m
[42 empty] | mac |  | eqs |  | option | 0
test
[21 empty] | ja | [18 empty] | M-1 | M-20000 | plume | jet | plume | jet
[5 empty] | Chosen L | y | [39 empty] | X-EQS | X-EQS-min
| flexible choice of dimensions of the mixing zone |  |  | ® | X-mac | 1 | [33 empty] | 117.7575 |  | 117.7575 |  | 10588.2353 |  | 221.5543 | 450
[5 empty] | X-L | 20000
[13 empty] | x-complete mixing | [6 empty] | complete mixing | [17 empty] | corrected length of the mixing zone due the impact of the discharge on mixing (extra flow)
[13 empty] | 8084.8169 |  | extra option |  |  |  |  | eqs | MAC | [16 empty] | in the near vicinity of the point of discharge
[13 empty] | ML-mac | [6 empty] | 10588.2353 | 10588.2353 | [15 empty] | ML-mac | normal situation | discharge taken in from surface water
| Estimation of the dimensions of the mixing zone: |  |  |  | B-max [m] | L [m] | area [m2] |  | % on waterbody level |  | L-mixing zone |  | 1 |  | Is the discharged water taken in from the same waterbody? |  |  |  |  | 0.0038251 | 0.050778 | [15 empty] | 0.074074 | 0 | 0.050778
| C= | MAC |  |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | 0 |  | ML-eqs |  | n |  |  |  |  | 1 | [7 empty] | tidal-flow | dC-acc | scenario | [6 empty] | ML-eqs
| C= | EQS |  |  | #VALUE! | 0.034714 | #VALUE! |  | #VALUE! |  | 0.034714 |  | -0.28571 | [6 empty] | X-jet min | X-jet-min | [6 empty] | n | 0 | Q-average | 2499 | 2494 | 123 | 0.00041741 | 20.3171 | 2395.7396 | 1.4286 | -0.065286 | -0.014508
[20 empty] | 35.7538 | 35.7538 | [7 empty] | 0 | Q-90-Q-95 | 24990 | 24940 | 111 | 5.9156e-05 | 225.1351 | 16904.5644
[20 empty] | PLUME | PLUME
M
0
0
ML-eqs-new
0.42857
ML-MAC
#VALUE!
| Estimation of the ratio X-eqs/X-mac: |  | depth | width | k-value | Kchezy | Rh | ratio Xeqs/Xmac | ratio MAC/EQS | u [m/s] | X-mac [m] | X-EQS [m]
| average waterbody flow | 150 | 2 | 45 | 0.05 | 47.5966 | 0.97826 | #REF! | #REF! | 1.6667 | 1 | 20000
| minimum waterbody flow | 10 | 2 | 45 | 0.05 | 47.5966 | 0.97826 |  | #REF! | 0.11111
0.00069258
15.8667
0
0
13.86
do you want to differentiate between the flow used for calculating the MAC mixing zone and the EQS mixing zone for calculating dC-accumulation?
[13 empty] | test | [14 empty] | (default=N) |  | N
ja
[10 empty] | afstand | F-verdunning | afstand | Css |  | gemiddelde concentratie eerste 10 km
[10 empty] | 1 |  | 1 | #VALUE!
[10 empty] | 5 |  | 5 | #VALUE! |  | #VALUE!
[10 empty] | 10 |  | 10 | #VALUE!
[10 empty] | 20 |  | 20 | #VALUE!
[10 empty] | 30 |  | 30 | #VALUE!
[10 empty] | 40 |  | 40 | #VALUE!
[10 empty] | 50 |  | 50 | #VALUE!
[10 empty] | 60 |  | 60 | #VALUE!
[10 empty] | 70 |  | 70 | #VALUE!
[10 empty] | 80 |  | 80 | #VALUE!
[10 empty] | 100 |  | 100 | #VALUE!
[10 empty] | 125 |  | 125 | #VALUE!
[10 empty] | 150 |  | 150 | #VALUE!
[10 empty] | 200 |  | 200 | #VALUE!
[10 empty] | 250 |  | 250 | #VALUE!
[10 empty] | 300 |  | 300 | #VALUE!
[10 empty] | 400 |  | 400 | #VALUE!
[10 empty] | 500 |  | 500 | #VALUE!
[10 empty] | 750 |  | 750 | #VALUE!
[10 empty] | 1000 |  | 1000 | #VALUE!
[10 empty] | 1250 |  | 1250 | #VALUE!
[10 empty] | 1500 |  | 1500 | #VALUE!
[10 empty] | 2000 |  | 2000 | #VALUE!
[10 empty] | 2500 |  | 2500 | #VALUE!
[10 empty] | 3000 |  | 3000 | #VALUE!
[10 empty] | 3500 |  | 3500 | #VALUE!
[10 empty] | 4000 |  | 4000 | #VALUE!
[10 empty] | 5000 |  | 5000 | #VALUE!
[10 empty] | 6000 |  | 6000 | #VALUE!
[10 empty] | 7000 |  | 7000 | #VALUE!
[10 empty] | 8000 |  | 8000 | #VALUE!
[10 empty] | 9000 |  | 9000 | #VALUE!
[10 empty] | 10000 |  | 10000 | #VALUE!
[10 empty] | 12000 |  | 12000 | #VALUE!
[10 empty] | 15000 |  | 15000 | #VALUE!
[10 empty] | 18000 |  | 18000 | #VALUE!
[10 empty] | 21000 |  | 21000 | #VALUE!
[10 empty] | 25000 |  | 25000 | #VALUE!
[10 empty] | 30000 |  | 30000 | #VALUE!
[10 empty] | 35000 |  | 35000 | #VALUE!
[10 empty] | 40000 |  | 40000 | #VALUE!
Note on B12: Administrator: Dy= dispersion coefficient in the y direction
Note on B17: Administrator: Dz=the dispersion coefficient in the z direction
Note on G83: Administrator: By chosing "Y" the possibility is created to vary the maximum length of the AA-EQS-mixing zone (L) and the MAC-mixing zone.
Note on I11: Administrator: maximum mixing factor after complete mixing
Note on P90: Administrator: defaault value is "N". In situations where cooling water is discharged by once through cooling systems a correction for the water taken in has to be carries out and a value of "Y" has to be added.
Note on AY91: Administrator: When answering "Y" and filling in the values for tidal flows and net flow, this means that the accumulation due to tidal movement can be (roughly) estimated

## STANDARDS
Nr | Piesārņojošā viela | MPK (µg/l) | GVK (µg/l) | VR (µg/l)
1 | Arsēns | 150 | 150 |  |  | MAC | EQS | VR | stof | upe |  | esoša izplūde
2 | Kadmijs | 0.45 | 0.08 |  | 7 | 14 | 1.2 | 0 | Svins | kanāls |  | izplūde ar samazinātu SZ
3 | Hroms | 11 | 11 | [6 empty] | grāvis
4 | Varš | 9 | 9 | [6 empty] | ezers |  | 1 | EXISTING DISCHARGE
5 | Dzīvsudrabs | 0.07 |  | X | [5 empty] | 1 | river
6
7 | Svins | 14 | 1.2
8 | Niķelis | 34 | 4
9 | Cinks | 120 | 120
10 | Naftalīns | 130 | 2 | 0.01
11 | Antracēns | 0.4 | 0.1 | X | [5 empty] | bodemruwheid
12 | [9 empty] | systeem |  | k in m
13 | Fluorantēns | 1 | 0.1 | 0.005 | [5 empty] | river |  | 0.05
14 | Dikofols |  | 0.0013 | 0.0003 | [5 empty] | canal |  | 0.1
15 | Bromdimetilēteris | nepiemēro | 0.0005 | 0.009 | [5 empty] | ditch or small canal |  | 0.1
16 | Benz(k)fluorantēns, Benz(b)fluorantēns (summa) | 0.03 |  | X |  |  |  |  | Svins | lake |  | 0.1
17 | Benz(a)pirēns | 0.1 | 0.05 | X |  | 14 | 1.2 | 0 | Svins
18 | Benz(g,h,i)perilēns & Indeno(1,2,3-cd)pirēns (summa) |  | 0.002 | X |  |  | VR/10 = | 0
19
20 | Pentahlor-benzols | nepiemēro | 0.007 | X
21 | Heksahlorbenzols | 0.05 | 0.01 | X
22 | Aldrīns |  | 0.01 | 1e-05
23 | Dieldrīns |  | 0.01 | 0.0004
24 | Endrīns |  | 0.01 | 4e-05
25 | DDT |  | 0.025 | 9e-07
26 | Hlorpirifoss | 0.1 | 0.003 | 5e-06
27 | Heksahlorbutadiēns | 0.6 | 0.1 | X
28 | Pentahlorfenols | 1 | 0.4 | 0.0002
29 |  |  |  | 0.033
30 |  |  |  | 0.009
31 |  |  |  | 0.009
32 | Heptahlors | 0.0003 | 2e-06 | X
33 | Heptahlorepoksīds | 0.0003 | 2e-06 | X
34 | Tetrahloretilēns |  | 10 | 2e-05
35 | Trigloretilēns |  | 10 | 50
36 |  |  |  | 1000
37 | Tetrahlorogleklis |  | 12 | 0
38 | Alahlors | 0.7 | 0.3
39 | Atrazīns | 2 | 0.6
40 | Benzols | 50 | 10
41 | 2,4,6-trihlorfenols |  | 1
42 | Kadmijs (1. pakāpe) | 0.45 | 0.08
43 | Kadmijs (2. pakāpe) | 0.45 | 0.08
44 | Kadmijs (3. pakāpe) | 0.6 | 0.09
45 | Kadmijs (4. pakāpe) | 0.9 | 0.15
46 | Kadmijs (5. pakāpe) | 1.5 | 0.25
47 | C10-13 hloralkāni | 1.4 | 0.4 | X
48 | Hlorfenvinfoss | 0.3 | 0.3
49 | 1,2-dihloretāns | nepiemēro | 10
50 | Dihlormetāns | nepiemēro | 20
51 | Di(2-etilheksil)-ftalāts (DEHP) | nepiemēro | 1.3 | X
52 | Durions | 1.8 | 0.2
53 | Endosulfāns | 0.01 | 0.005
54 | Heksahlorbutadiēns | 0.6 |  | X
55 | Heksahlorcikloheksāns | 0.04 | 0.02 | X
56 | Izoproturons | 1 | 0.3
57 | Nonilfenols | 2 | 0.3 | X
58 | Polihlorbifenili |  | 0.01
59 | Oktilfenols | nepiemēro | 0.1
60 | Hlorbenzols |  | 1
61 | Formaldehīds |  | 1000
62 | Fenolu indekss |  | 300
63 | Dimetoāts |  | 1
64 | Dietilamīns |  | 100
65 | Simazīns | 4 | 1
66 | Tributilalvas savienojumi | 0.0015 | 0.0002 | X
67 | Trihlorbenzoli | nepiemēro | 0.4
68 | Trihlormetāns (hloroforms) | nepiemēro | 2.5
69 | Trifluralīns | nepiemēro | 0.03 | X
70

## LEGEND
IZPLŪDES TESTS
X-mac |  |  |  | MPK sajaukšanās zonas garums (m)
L |  |  |  | GVK sajaukšanās zonas garums
delta C |  |  |  | Koncentrācijas pieaugums
upstreamconcentration Cw |  |  |  | Piesārņojošās vielas koncentrācija ūdensobjektā augšpus izplūdes (fona koncentrācija)
M25 |  |  |  | Sajaukšanās faktors 25 m lejpus izplūdes
ML |  |  |  | Sajaukšanās faktors L attālumā lejpus izplūdes
C25 |  |  |  | Koncentrācija 25 m lejpus izpūdes
CL |  |  |  | Koncentrācija L attālumā lejpus izplūdes
SAJAUKŠANĀS APRĒĶINS
k-value |  |  |  | k-konstante, ko izmanto Šezī (Chezy) vienādojumā =
Chezy C |  |  |  | Šezī koeficients
alpha-coëfficiënt |  |  |  | 0.6
LEGEND:
Input data (from worksheet "discharge-test)
| (PLUME mixing) |  |  |  | Waterbody: type, flow, width and length (lake) |  |  |  | (JET mixing)
discharge: flow and diameter of the pipe
| IF: |  |  |  |  | Is the flow |  |  |  | IF:
4*p*Ö(Dy*Dz) 1 | [5 empty] | a JET or a PLUME? |  | 4*p*Ö(Dy*Dz) 1
| >= | [7 empty] | <
a*Qdischarge |  |  | 5,6*Idischarge |  |  |  |  | a*Qdischarge |  | 5,6*ldischarge
| First 3D-plume | [7 empty] | First JET
| Then 2D-plume | [7 empty] | Then 2D-plume
The transition from the 3D-plume to
the 2D-plume takes place at: | [7 empty] | If the depth of the waterbody is a limiting factor
3D-plume | [7 empty] | the transition from JET to PLUME will take place
X max = usurface*h2 | [7 empty] | at a distance downstream of the point of
4*p*Dz | [7 empty] | discharge, wich is equal to:
[8 empty] | jet (v) |  | 7* Idischarge*vdischarge
[8 empty] | X max | =
c* usurface
The mixing in the 3D-plume as a
function of the distance x is: | [7 empty] | If the bed (b) or the watersurface (s) is a limiting
factor, the transition will take place at a distance
3D-plume |  | 4*p*x*Ö(Dy*Dz) | [5 empty] | of:
M x = | [7 empty] | jet (b/s) |  | h-Ddischarge
|  | a*Qdischarge | [5 empty] | X max | =
b*0,107
The lowest of these values is used for
further calculation:
3D-plume |  | h*Ö(4*p*usurface*Dy*x)
M x = | [7 empty] | jet |  | jet (v) | jet (b/s)
a*Qdischarge | [7 empty] | X max | = MIN | X max ; | X max
LEGEND:
Mx = | mixing-factor as a function of distance x; Mx = Ceffluent/Cx
| Cd | = the concentration in the discharge
| Cx | = the concentration at distance x from the point of discharge
| (The minimum value of Mx occurs at x=0 and equals a value of Mmin=Cd/Ce=1; | [6 empty] | The mixing in the JET as a function of x is:
The maximum value occurs after complete mixing and equals a value of
| Mmax= Qsurface/Qdischarge) | [6 empty] | jet |  | x
Dy = | dispersioncoëfficiënt in the Y-direction [m2/s] | [6 empty] | M x =
Dz = | dispersioncoëfficiënt in the Z-direction [m2/s] | [8 empty] | 5,6*Idischarge
Qsurface = | flow of the receiving water body [m3/s]
Qdischarge = | flow of the effluent discharged [m3/s]
Ddischarge = | diameter of the effluent pipe [m]
vdischarge = | (streaming)velocity of the effluent discharged [m/s]
Idischarge = | ÖA with A = area (sectional plane) of the discharge pipe (p/4*(dpipe)2) | [6 empty] | The mixing in the 2D-plume as a function of x is:
(characteristic length scale for a jet [m])
usurface = | average velocity of the receiving surface water body [m/s] | [6 empty] | 2D-plume |  | h*Ö(4*p*usurface*Dy*(x+ X slide))
h = | water depth of the receiving surface water body [m] | [6 empty] | M x =
a, b = | coëfficiënts for the position of the discharge pipe | [9 empty] | a*Qdischarge
a = 1 | discharge positioned in the centre of the water body
a = 2 | discharge positioned on the bank of the water body | [6 empty] | with: | jet |  | 2
b = 1 | vertical position: discharge close to the bed or surface of the water body | [7 empty] | Xmax * a * Qdischarge
b = 2 | vertical position: discharge at medium depth (0,5 * depth of the waterbody)
[7 empty] | jet |  | h* Idischarge* 5,6 |  | jet
c = | ratio of velocities at the transition of JET to PLUME: c = | [5 empty] | Vmax / usurface | X slide = |  |  | - X max
| chosen default values are: a=2; b=2; c=2 | [7 empty] | 4*p*usurface* Dy

## MIXING IN TIDAL SITUATION
worst-case Y/N
n
meenemen
getijdebeweging?
n
|  |  | load |  |  |  | lozingsdebiet Qloz | diameter pijp D | watersysteemtype | 10-percentiel onder- | breedte b | diepte h |  | lengte meer | diameter meer | snelheid v | k-waarde | Chezy C | alpha-coëfficiënt | disp-y (b) | disp-y (s) | disp-y (u) | L-meng y | beta-coëfficiënt | disp-z (b) | disp-z (s) | disp-z (u) | oppervlakte pijp A | lozing in het midden a = 1, | lozing bij bodem of aan oppervlak b = 1, | c = verhouding snelheden bij | uitstroomsnelheid vloz | l(Q) | maximum Ce/Cm= Qopp/Qloz | L-MTR |  | jet of pluim bij lozingspunt: | [6 empty] | toetsafstand |  |  |  | x-jet-max (m) = | x-jet-max/l(Q) = | x-jet-max/l(Q) > 7? | x-jet-bodem/opp (m) = | minimum x-jet-max (m) = | x-schuif (m) = |  |  |  | op toetsafstand | op toetsafstand
|  | substance | discharged |  | Ca-bovenstrooms [ug/l] | MTR [ug/l] | m3/h | m | rivier;kanaal;sloot of meer? | schrijdingsafvoer | [m] | [m] |  | [m] | [m] | [12 empty] | m2 | lozing aan de oever a = 2 | lozing op halve diepte b = 2 | overgang jet naar pluim ( v-jet-max / v ) | m/s | m | [10 empty] | m | [8 empty] | m
|  | stof X | 0.4 |  | 0.02 | 240 | 61.25 | 0.5 | meer | 4.5 | 3000 | 3.56 | meerlengte [m] : | 22750 | 9321.9418 | 0.00042135 | 0.1 | 47.3328 | 0.6 | 6.0128e-05 | 0.001 | 0.001 | 1403089.8876 | 0.067 | 6.7143e-06 | 0.001 | 0.001 | 0.19635 | 2 | 1 | 2 | 0.086651 | 0.44311 | 264.4898 | 1000 |  | JET | [10 empty] | 318.9447 | 719.7812 | JA | 28.5981 | 28.5981 | 2263.2477 |  |  |  | 13.752 | 13.752
[10 empty] | 4 | [60 empty] | n
|  | input | [26 empty] | input | [16 empty] | pluim of jet | [24 empty] | 1
[10 empty] | watersysteemgegevens |  |  | dimensies meer | [21 empty] | facultatief |  | J | [6 empty] | verdunning | F-gecorri- | overgang | [10 empty] | verdunning | resultaat
[7 empty] | lozing | [13 empty] | Verborgen cellen | [11 empty] | Verborgen cellen |  | 0 | [8 empty] | PLUME | geerd | L-variabel | L-mengzone | Jet | [8 empty] | Pluim | verdunning
|  | Substance | load | C-effl | Cw | MTR | effluent-flow | diameter pipe | water | flow of | width | depth |  |  |  | snelheid v | k-waarde | Chezy C | alpha-coëfficiënt | disp-y (b) | disp-y (s) | disp-y (u) | L-meng y | beta-coëfficiënt | disp-z (b) | disp-z (s) | disp-z (u) | oppervlakte pijp A | a = | b = | c = | udischarge | l(Q) | maximum Ce/Cm= Qwaterbody/Qdischarge | L-kritisch | L-MAC | jet of pluim bij lozingspunt: | x3Dpluim-max (m) = | overall | overall | Fx | Fx | F-jet-normaal | toetsafstand | [10 empty] | F-verd | F-verd | toetsafstand | op toetsafstand |  | X-complete | L | L-jet | Lplume | plume |  | jet |  | L-x | M-tidal
opition | Criterium |  | [kg/j] |  | [ug/l] | [ug/l] | [m3/h] | [m] | type | water body | m | m |  |  | [m] | [12 empty] | m2 | lozing aan de oever a = 2 | lozing op halve diepte b = 2 | overgang jet naar pluim ( v-jet-max / v ) | m/s | m |  | (overgang fomulering) |  |  | toetsafstand | menging | mixing factor | min(x) | (min) |  | m | [8 empty] | m | L-mixing-zone | x-max | (x3Dplume) | m |  | L |  |  |  |  | 1 | 2 | 3 | 4
average tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 111 | 45 | 2 | niets invullen ==>> | 0 |  | 1.2333 | 0.05 | 47.5966 | 0.6 | 0.09833 | 0.001 | 0.09833 | 9397.7045 | 0.067 | 0.01098 | 0.001 | 0.01098 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 26117.6471 | 450 | 25 | PLUIM |  |  |  |  | 0 | [15 empty] | 0
Q90 tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 450 | 25 | PLUME |  |  |  |  | #VALUE! | [15 empty] | 0
Q95 tdal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 1249.5 | 45 | 2 | niets invullen ==>> | 0 |  | 13.8833 | 0.05 | 47.5966 | 0.6 | 1.1069 | 0.001 | 1.1069 | 9397.7045 | 0.067 | 0.1236 | 0.001 | 0.1236 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 294000 | 450 | 25 | PLUME |  |  |  |  | 0 | [15 empty] | 0
EQS-mixing zone
average tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 450 | 25 | PLUIM | 35.7538 | 2520.7565 |  |  | 39102.366 |  | 138723.0055 | [9 empty] | -0.0028336 | 1767312.759 | 3605.06 |  | 2520.7565
Q90 tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 450 | 25 | PLUIM | 35.7538 | 2520.7565 |  |  | 39102.366 |  | 32697.326 | [9 empty] | -0.0028336 | 1767312.759 | 3605.06 |  | 2520.7565
Q95 tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 1249.5 | 45 | 2 | niets invullen ==>> | 0 |  | 13.8833 | 0.05 | 47.5966 | 0.6 | 1.1069 | 0.001 | 1.1069 | 9397.7045 | 0.067 | 0.1236 | 0.001 | 0.1236 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 294000 | 450 | 25 | PLUIM | 35.7538 | 1260.3783 |  |  | 19551.183 |  | 16348.663 | [9 empty] | -0.0056672 | 883656.3795 | 1802.53 |  | 1260.3783
average tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 1000 | 25 | PLUIM | 35.7538 | 2520.7565 |  |  | 39102.366 |  | 206796.0469 | [9 empty] | -0.0028336 | 3927361.6866 | 3605.06 |  | 2520.7565
average tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 35.7538 | 25 | PLUIM | 35.7538 | 2520.7565 |  |  | 39102.366 |  | -0.28571 |  | #NAME? | [7 empty] | -0.0028336 | 140417.9104 | 3605.06 |  | -0.28571
average tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 2.2346 | 25 | PLUIM | 35.7538 | 2520.7565 |  |  | 39102.366 |  | -0.28571 | 0.21429 | 1.2471e-05 | [7 empty] | -0.0028336 | 8776.1194 | 3605.06 |  | -0.28571
MAC-mixing zone
average tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 3.2178 | 25 | PLUIM | 11.25 | -0.28571 |  |  | 3519.2129 |  | 11730.7098 | 11731.2098 | #NAME? | [7 empty] | -0.0028336 | 12637.6119 | 1134.3404 |  | -0.28571
Q90 tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 0.014204 | 25 | PLUIM | 11.25 | -0.28571 |  |  | 15.5343 |  | 32697.326 | 32697.826 | #NAME? | [7 empty] | -0.0028336 |  | 1134.3404 |  | -0.28571
Q95 tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 8.9384e-06 | 25 | PLUIM | 11.25 | -0.28571 |  |  | 0.0097756 |  | 32697.326 | 32697.826 | 1.3307e-10 | [7 empty] | -0.0028336 | 0.035104 | 1134.3404 |  | -0.28571
average tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 0.014204 | 25 | PLUIM | 11.25 | -0.28571 |  |  | 15.5343 |  | 779.3778 | 779.8778 | #NAME? | [7 empty] | -0.0028336 | 55.7844 | 1134.3404 |  | -0.28571
condities op grens van mengzone:
Q90 tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 0.040125 | 25 | PLUIM | 450 | -0.28571 |  |  | 43.8826 |  | -0.28571 | 0.21429 | #NAME? | [7 empty] | -0.0028336 | 157.584 | 45373.6175 |  | -0.28571
Q90 tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 0.00017712 | 25 | PLUIM | 450 | -0.28571 |  |  | 0.1937 |  | -0.28571 | 0.21429 | #NAME? | [7 empty] | -0.0028336 | 0.6956 | 45373.6175 |  | -0.28571
average tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1.2 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 8.9384e-06 | 25 | PLUIM | 450 | -0.28571 |  |  | 0.0097756 |  | 19.5512 | 20.0512 | #NAME? | [7 empty] | -0.0028336 |  | 45373.6175 |  | -0.28571
Q90 tidal flow |  | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 1810033.6265 | 1810033.6265 | PLUIM | 35.7538 | 182506163.2572 |  |  | 1979557277.5056 |  | -0.28571 | 0.21429 | #NAME? | [7 empty] | -0.0028336 | 7108656716.4179 | 3605.06 |  | -0.28571
Q90 tidal flow | MAC | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | niets invullen ==>> | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 0 | 1 | PLUIM | #NAME? | #NAME? |  |  | 0 |  | #NAME? | #NAME? | 1.3307e-10 | [7 empty] | #NAME? | 0 | #NAME? |  | #NAME?
dimensions mixing zone:
Q90 tidal flow | MAC | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | no input= | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 35.7538 | 0 | PLUIM | 0 | 0 | 0 | 0 | 39102.366 |  | 1 | 1.5 | 35.7538 | 6.8978e-05 | [6 empty] | -0.0028336 | 140417.9104 | 35.7538 |  | 0 | #VALUE! | 105.0105 | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE! | #VALUE!
average tidal flow | EQS | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | no input= | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 35.7538 | #VALUE! | PLUIM | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 39102.366 |  | #VALUE! | #VALUE! | 35.7538 | #VALUE! | [6 empty] | #VALUE! | 0 | 35.7538 |  | #VALUE! | #VALUE! | 8084.8169 |  |  | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE! | #VALUE!
Q90 tidal flow | MAC | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | no input= | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 35.7538 | #VALUE! | PLUIM | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 39102.366 |  | #VALUE! | #VALUE! | 35.7538 | 6.8978e-05 | [6 empty] | -0.0028336 | 0 | 35.7538 |  | #VALUE! |  |  |  | X-mac | [5 empty] | #VALUE!
average tidal flow | EQS | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | no input= | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 35.7538 | #VALUE! | PLUIM | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 39102.366 |  | #VALUE! | #VALUE! | 35.7538 | #REF! | [6 empty] | #REF! | 0 | 35.7538 |  | #VALUE! |  |  |  | L-EQS | [5 empty] | #VALUE! |  |  | test | test
dimensions mixing zone based on discharge test: | [34 empty] | 0.016785 | [35 empty] | n | ja
Q90 tidal flow | MAC | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | no input= | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 35.7538 | 11.25 | PLUIM | 11.25 | 12303.6495 | 12303.6495 | 12303.6495 | 39102.366 |  | -0.28571 | 0.21429 | 35.7538 | 6.8978e-05 | [6 empty] | -0.0028336 | 0 | 1134.3404 |  | -0.28571 |  |  |  |  | 196.579 | 196.579 | 11.25 | [6 empty] | 12303.6495
average tidal flow | EQS | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | no input= | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 35.7538 | 450 | PLUIM | 450 | 492145.9811 | 492145.9811 | 492145.9811 | 39102.366 |  | 138723.0055 | 138723.5055 | 35.7538 | 6.8978e-05 | [6 empty] | -0.0028336 | 0 | 45373.6175 |  | 138723.0055 |  |  |  |  | 314526.4426 | 314526.4426 | 450 | [6 empty] | 492145.9811
dimensions mixing zone freely chosen:
Q90 tidal flow | MAC | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | no input= | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 35.7538 | 1 | PLUIM | 1 | 1093.6577 | 1093.6577 | 1093.6577 | 39102.366 |  | -0.28571 | 0.21429 | 35.7538 | 6.8978e-05 | [6 empty] | -0.0028336 | 0 | 100.8303 |  | -0.28571 |  |  |  |  | 1.5532 | 1.5532 | 1 | [6 empty] | 1093.6577
average tidal flow | EQS | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | no input= | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 35.7538 | 20000 | PLUIM | 20000 | 21873154.7136 | 21873154.7136 | 21873154.7136 | 39102.366 |  | 588000 | 588000.5 | 35.7538 | -0.00026125 | [6 empty] | -0.0028336 | 0 | 2016605.223 |  | 588000 |  |  |  |  | 621286800.1509 | 621286800.1509 | 20000 | [6 empty] | 21873154.7136
Q90 tidal flow | MAC | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | no input= | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 35.7538 | 1 | PLUIM | 1 | 1093.6577 | 1093.6577 | 1093.6577 | 39102.366 |  | -0.28571 | 0.21429 | 35.7538 | 6.8978e-05 | [6 empty] | -0.0028336 | 0 | 100.8303 |  | -0.28571 |  |  |  |  | 1.5532 | 1.5532 | 1 | [6 empty] | 1093.6577
average tidal flow | EQS | Svins | 0.1224 | 1 | 0.5 | 1 | 15.3 | 0.5 | river | 2499 | 45 | 2 | no input= | 0 |  | 27.7667 | 0.05 | 47.5966 | 0.6 | 2.2138 | 0.001 | 2.2138 | 9397.7045 | 0.067 | 0.2472 | 0.001 | 0.2472 | 0.19635 | 2 | 1 | 2 | 0.021645 | 0.44311 | 588000 | 35.7538 | 20000 | PLUIM | 20000 | 21873154.7136 | 21873154.7136 | 21873154.7136 | 39102.366 |  | 588000 | 588000.5 | 35.7538 | -0.00026125 | [6 empty] | -0.0028336 | 0 | 2016605.223 |  | 588000 |  |  |  |  | 621286800.1509 | 621286800.1509 | 20000 | [6 empty] | 21873154.7136